# Scope of works

Job Card Number: _____________

Date: ______________

# General Conditions of Contracts

- The Contractor must take responsibility for any associated risks and liability for any damages on the USP premises should it occur during the execution of the project, and that any sub-contractor engaged in this project must be endorsed by USP prior to commencing of the contract works.

- The USP’s approval of any subcontracting shall not relieve the Contractor from any liability or obligation under the Contract.  In any subcontract, the Contractor agrees to bind the subcontractor by the same terms and conditions by which the Contractor is bound under the Contract / PO.

- The Contractor shall be fully responsible  for any risks: loss of or damage to the Works, Plant, and Materials; loss of or damage to Equipment; loss of or damage to property in connection with the Contract; and personal injury or death.

- The Contractor must ensure that any equipment and machinery used for the assignment, must take due responsibility for its own access to the USP premises including any scaffolding works in the isolation of works area, and any danger, machinery and work signage’s to be placed where appropriate to caution staffs and students of the University for awareness while any maintenances work is in progress.

- Preliminary & General: Allow for erecting OHS signage’s at the Vicinity and Barricade the Building maintenance site and the use of proper scaffolding. The Contractor to comply with USP occupational Health and safety regulation.

- All contractors are to note that strict timelines are to be adhered for all project completion, any extension must be endorsed by the Project Manager. Contractors to provide details timelines of the planned schedule completion of the project.

- All materials used to be quality i.e paint to be ultra premium range and use treated timber only Stress grade F7/F8 or H3 preservative treated timber etc. All Building maintenance, electrical & plumbing works should comply with local regulatory authority and required standards.

- The contractor to ensure that the site area should be cleaned and cleared after all works are completed, and disposal of all waste and construction materials etc.

| Scope of works: | Quantity | Material Cost | Labour Cost | Total Price |
| --- | --- | --- | --- | --- |
| 1.1 |  |  |  |  |  |
| 1.2 |  |  |  |  |  |
| 1.3 |  |  |  |  |  |
| 1.4 |  |  |  |  |  |
| 1.5 |  |  |  |  |  |
| 1.6 |  |  |  |  |  |
| 1.7 |  |  |  |  |  |
| 1.8 |  |  |  |  |  |
|  | Total Cost of Works |  |  |  |  |

Timelines/completion of works: ………………………………………..		Maintenance staff: ………………………………………….

(Affix company stamp)  		Signature of approved contractor: _________________________